HemoSIM: Pulmonary Artery Catheter Simulation Education

Mastery-Based Instructor Checklist

Learner: _______________________
Instructor: _____________________
Date: ___________________________

Performance Standard:
- Requires prompting = Not Yet Mastered
- Independent, accurate, and without prompt = Mastered

Topic 1: Indications, Anatomy and Setup

| Item | Performance Criteria | Met |
| --- | --- | --- |
| 1.1 | Opens transducer stopcock to air (correct port) | ☐ |
| 1.2 | Confirms system flushed and free of air bubbles | ☐ |
| 1.3 | Executes zeroing function on the bedside monitor | ☐ |
| 1.4 | Confirms zero reference accepted by monitor | ☐ |
| 1.5 | Returns stopcock to patient/circuit after zeroing | ☐ |

Mastery Achieved: ☐ Yes ☐ No

Section 2: Transducer Leveling

Objective: Correctly level the transducer at the right atrium.

| Item | Performance Criteria | Met |
| --- | --- | --- |
| 2.1 | Identifies the phlebostatic axis (4th ICS, mid-axillary line) | ☐ |
| 2.2 | Positions transducer at correct vertical height relative to phlebostatic axis | ☐ |
| 2.3 | Demonstrates proper Flush Test Technique | ☐ |

Mastery Achieved: ☐ Yes ☐ No

Section 3: Monitor Manipulation and Waveform Display

Objective: Demonstrate facility with ICU monitor controls for PA catheter use.

| Item | Performance Criteria | Met | Not Met |
| --- | --- | --- | --- |
| 3.1 | Navigates to Monitor Setup screen | ☐ | ☐ |
| 3.2 | Selects correct PA channel (e.g., PA1 vs PA2) | ☐ | ☐ |
| 3.3 | Adjusts displayed pressure scale appropriately (e.g., 0–50 mmHg) | ☐ | ☐ |
| 3.4 | Adjusts sweep speed to optimize waveform interpretation (Indicate that you want sweep speed to evaluate respirophasic variation on the PA catheter) | ☐ | ☐ |

Mastery Achieved: ☐ Yes ☐ No

Section 4: PA Catheter Components Identification

Objective: Identify and explain the function of all major PA catheter components.

| Item | Performance Criteria | Met | Not Met |
| --- | --- | --- | --- |
| 4.1 | Identifies distal (PA) port and its function | ☐ | ☐ |
| 4.2 | Identifies proximal (RA) port and its function | ☐ | ☐ |
| 4.3 | Identifies balloon inflation port and syringe | ☐ | ☐ |
| 4.4 | Identifies thermistor on PA catheter | ☐ | ☐ |
| 4.5 | Identifies pressure transducer | ☐ | ☐ |

Mastery Achieved: ☐ Yes ☐ No

Final Station Sign-Off

☐ All sections mastered independently

Instructor Signature: ___________________________
Comments / Remediation Plan (if needed):

Topic 2: PA Catheter Insertion and Troubleshooting

Section 1: Catheter Orientation and Initial Insertion

| Item | Performance Criteria | Met | Not Met |
| --- | --- | --- | --- |
| 1.1 | Confirms PA catheter integrity and balloon functionality prior to insertion | ☐ | ☐ |
| 1.2 | Positions catheter J-loop with curve directed at 9 o’clock orientation | ☐ | ☐ |

Mastery Achieved: ☐ Yes ☐ No

Section 2: Balloon Inflation and Initial Advancement

| Item |  | Performance Criteria | Met | Not Met |
| --- | --- | --- | --- | --- |
| 2.1 |  | Inflates balloon at 20 cm insertion depth | ☐ | ☐ |
| 2.3 |  | Advances catheter smoothly while observing pressure waveform continuously | ☐ | ☐ |
| 2.4 |  | Avoids advancing catheter with balloon deflated beyond RA | ☐ | ☐ |
| 2.5 | Uses expected depth ranges to verify correct chamber location (Go to 2.5.1) or Recognizes Failed Advancement (Go to section 3) |  | ☐ | ☐ |
| 2.5.1 | RA waveform at expected depth (~20–25 cm) |  |  |  |
| 2.5.2 | RV waveform at expected depth (~25-35 cm) |  |  |  |
| 2.5.3 | PA waveform at expected depth (~35-45 cm) |  |  |  |
| 2.6 | Stops advancing catheter once wedge waveform is identified |  | ☐ | ☐ |
| 2.7 | Deflates balloon after wedge waveform is identified |  | ☐ | ☐ |

Mastery Achieved: ☐ Yes ☐ No

Section 3: Troubleshooting Failed Advancement

| Item | Performance Criteria | Met | Not Met |
| --- | --- | --- | --- |
| 3.1 | Stops advancing catheter if waveform – depth mismatch occurs (depth >10 cm beyond expected maximum depth for expected position). | ☐ | ☐ |
| 3.2 | Deflates balloon prior to withdrawing catheter | ☐ | ☐ |
| 3.3 | Stops withdrawing catheter once waveform-depth congruency is reestablished | ☐ | ☐ |
| 3.4 | Reorients catheter and adjusts technique after first failed attempt | ☐ | ☐ |
| Limit blind advancement attempts to two attempts – if unable to achieve wedge within 2 attempts, uncover heart, tell participant “You have access to fluoroscopy. Advance the catheter to the wedge position.” (Go to Section 2.5) |  |  |  |

Mastery Achieved: ☐ Yes ☐ No

Section 6: Wedge Positioning and Balloon Management

| Item | Performance Criteria | Met | Not Met |
| --- | --- | --- | --- |
| 4.1 | Re-inflates balloon slowly while monitoring waveform | ☐ | ☐ |
| 4.2 | Stops balloon inflation immediately upon appearance of wedge waveform | ☐ | ☐ |
| 4.2.1 | Withdraws catheter 1-2 cm if wedge waveform appears with <1cc air. | ☐ | ☐ |
| 4.3 | Fully deflates balloon after wedge measurement | ☐ | ☐ |
| 4.4 | Confirms return of PA waveform after balloon deflation | ☐ | ☐ |

Mastery Achieved: ☐ Yes ☐ No

Final Station Sign-Off

☐ All sections mastered independently

Instructor Signature: ___________________________

Comments / Remediation Plan (if needed):

Topic 3: Waveform identification and Wedging

Section 1: Monitor Navigation and Wedging Screen Setup

| Item | Performance Criteria | Met | Not Met |
| --- | --- | --- | --- |
| 1.1 | Navigates to procedure menu on ICU monitor | ☐ | ☐ |
| 1.2 | Selects PAOP / Wedging screen | ☐ | ☐ |

Mastery Achieved: ☐ Yes ☐ No

Section 2: Wedging Technique

| Item | Performance Criteria | Met | Not Met |
| --- | --- | --- | --- |
| 2.1 | Inflates balloon slowly while continuously observing waveform | ☐ | ☐ |
| 2.2 | Stops balloon inflation immediately upon appearance of wedge waveform | ☐ | ☐ |
| 2.3 | Moves wedge cursor to peak of a-wave at end expiratory position (choose ventilated or spontaneously breathing patient) to measure wedge pressure | ☐ | ☐ |
| 2.4 | Fully deflates balloon immediately after measurement | ☐ | ☐ |
| 2.5 | Confirms return of PA waveform after balloon deflation | ☐ | ☐ |

Mastery Achieved: ☐ Yes ☐ No

Final Station Sign-Off

☐ All sections mastered independently

Instructor Signature: ___________________________

Comments / Remediation Plan (if needed):

Topic 4: Thermodilution Cardiac Output

Section 1: Monitor Navigation and Cardiac Output Screen Setup

| Item | Performance Criteria | Met | Not Met |
| --- | --- | --- | --- |
| 1.1 | Navigates to procedure menu on ICU monitor | ☐ | ☐ |
| 1.2 | Selects Cardiac Output procedure | ☐ | ☐ |
| 1.3 | Confirms correct patient demographics are displayed | ☐ | ☐ |
| 1.4 | Confirms injectate volume is set to 10 mL | ☐ | ☐ |

Mastery Achieved: ☐ Yes ☐ No

Section 2: Thermodilution Screen and Equipment Preparation

| Item | Performance Criteria | Met | Not Met |
| --- | --- | --- | --- |
| 2.1 | Navigates to thermodilution / CO measurement screen | ☐ | ☐ |
| 2.2 | Draws up 10 mL saline into CO syringe | ☐ | ☐ |
| 2.3 | Removes air bubbles from syringe prior to injection | ☐ | ☐ |
| 2.4 | Turns stopcock from RAP monitoring to injectate administration position | ☐ | ☐ |
| 2.5 | Injects 10 mL saline smoothly and completely | ☐ | ☐ |
| 2.6 | Repeats thermodilution injection to obtain repeat measurement | ☐ | ☐ |
| 2.7 | Confirms cardiac output measured at least three times with <10% variation. | ☐ | ☐ |
| 2.8 | Removes outlier measurements (>10% from mean) and averages remaining measures | ☐ | ☐ |
| 2.9 | Returns stopcock to RAP monitoring position after injection | ☐ | ☐ |

Mastery Achieved: ☐ Yes ☐ No

Final Station Sign-Off

☐ All sections mastered independently

Instructor Signature: ___________________________

Comments / Remediation Plan (if needed):